## Compounds
Measurement | Substance name(s) |  | Unique identifer |  |  |  |  | CHROMATOGRAPHY |  | Mass_Spectrometry | [6 empty] | Identification |  | found in | References
File | Name | Synonyms | InChI | SMILES | PubChem CID | Formula | Exact mass | CHROMATOGRAPHY | RT (min) | INSTRUMENT | INSTRUMENT_TYPE | IONIZATION | Collision energy | Adduct | MS/MS Acquisition mode | Ionization mode | Confidence | Compound class |  | Database links | Authors | Publication
2019731210_spectra_0.msp | S3:20(5,5,10) | Acyl sucrose |  | O[C@H]1[C@@H](O[C@@]2(O[C@H](CO)[C@@H](O)[C@@H]2O)COC(CCCCCCCCC)=O)O[C@H](CO)[C@@H](OC(CC(C)C)=O)[C@@H]1OC(CC(C)C)=O |  |  | 663.36 | Nucleoshell RP18, Macherey & Nagel | 15.66 | TripleToF5600, Sciex; Acquity, Waters | LC-ESI-QTOF | ESI | -10,-35,-60V | [M+FA-H]- | SWATH | Negative | Predicted | acyl sugar | tomato trichome |  | Micha Gracianna Devi and Gerd Balcke, Leibniz Institute of Plant Biochemistry (IPB) Halle, Germany
2019731210_spectra_0.msp | S3:20(4,4,12) | Acyl sucrose |  | O[C@H]1[C@@H](O[C@@]2(O[C@H](CO)[C@@H](O)[C@@H]2O)COC(CCCCCCCCCCC)=O)O[C@H](CO)[C@@H](OC(C(C)C)=O)[C@@H]1OC(C(C)C)=O |  |  | 664.367 | Nucleoshell RP18, Macherey & Nagel | 15.79 | TripleToF5600, Sciex; Acquity, Waters | LC-ESI-QTOF | ESI | -10,-35,-60V | [M+FA-H]- | SWATH | Negative | Predicted | acyl sugar | tomato trichome |  | Micha Gracianna Devi and Gerd Balcke, Leibniz Institute of Plant Biochemistry (IPB) Halle, Germany
Note on D1: Treutler, Hendrik: Please provide at least one of these
Note on K1: Treutler, Hendrik: See sheet 'Mass_Spectrometry'
Note on B2: Treutler, Hendrik: Preferrably a common name of the neutral molecule; e.g. citric acid rather than citrate
Note on C2: Treutler, Hendrik: optional field; synonyms delimied by '; '
Note on I2: Treutler, Hendrik: See sheet 'Chromatography'
Note on N2: Treutler, Hendrik: Describe your collision energy conditions here
Note on O2: Treutler, Hendrik: Both for pos and neg mode in multiple rows; e.g. [M-H2O-H]- or [M+NH4]+
Note on R2: Treutler, Hendrik: Pure standard or Predicted
Note on U2: Treutler, Hendrik: Optional: You may supply database links for the compound; multiple links are ledimited by '; '

## Chromatography
Property | Value
COLUMN_NAME | Nucleoshell RP18, 150 mm x 2 mm x 2.1 µm
FLOW_GRADIENT | 0-2 min:5%, 19 min:95%, 21 min:95%, 21.01 min:5% 24 min: 5% (acetonitrile)
FLOW_RATE | 0.4 ml/min
SOLVENT | CH3CN/ H2O(0.3 mM NH4COO + formic acid pH3)
COLUMN_TEMPERATURE: | 40 °C
Note on A1: Treutler, Hendrik: Optional: Please supply chromatography information here. See example below for possible properties. In case of multiple chromatographies please create multiple Property/Value tables

## Mass_Spectrometry
Property | Value
MS_TYPE | MS2
ION_MODE | negative
ACTIVATION_PARAMETER
ACTIVATION_TIME
AUTOMATIC_GAIN_CONTROL
CAPILLARY_TEMPERATURE
CAPILLARY_VOLTAGE
COLLISION_ENERGY | -10V, -45V, -70V
FRAGMENTATION_METHOD | CID
IONIZATION | ESI
RESOLUTION_SETTING
SPRAY_VOLTAGE | -4.5 kV
TUBE_LENS_VOLTAGE
ENTRNCE_POTENTIAL | -10 V
SOURCE_TEMPERATURE | 600 °C
CURTAIN GAS | 35 psi
GAS_01 | 60 psi
GAS_02 | 70 psi
DECLUSTERING_POTENTIAL | -35 V
Note on A1: Treutler, Hendrik: Optional: Please supply MS instrument information here. See example below for possible properties. In case of multiple MS instruments please create multiple Property/Value tables

## Lists
Adduct | MS/MS Acquisition mode | Ionization mode | Confidence | IONIZATION | INSTRUMENT_TYPE
[M-H]- | DDA | Positive | Pure standard | ESI | CE-ESI-TOF
[M-H2O-H]- | IDA | Negative | Predicted | APCI | ESI-FTICR
[M+Na-2H]- | SWATH |  |  |  | ESI-ITFT
[M+Cl]- |  |  |  |  | ESI-ITTOF
[M+K-2H]- |  |  |  |  | ESI-QTOF
[M+FA-H]- |  |  |  |  | HPLC-ESI-TOF
[M+Hac-H]- |  |  |  |  | LC-ESI-IT
[M+Br]- |  |  |  |  | LC-ESI-ITFT
[M+TFA-H]- |  |  |  |  | LC-ESI-ITTOF
[M-C6H10O4]- |  |  |  |  | LC-ESI-Q
[M-C6H10O5]- |  |  |  |  | LC-ESI-QFT
[M-C6H8O6]- |  |  |  |  | LC-ESI-QIT
[2M-H]- |  |  |  |  | LC-ESI-QQ
[2M+FA-H]- |  |  |  |  | LC-ESI-QTOF
[2M+Hac-H]- |  |  |  |  | LC-ESI-TOF
[3M-H]- |  |  |  |  | UPLC-ESI-QTOF
[M-2H]2- |  |  |  |  | APCI-ITFT
[M-3H]3- |  |  |  |  | APCI-ITTOF
[M+H]+
[M+NH4]+
[M+Na]+
[M+CH3OH+H]+
[M+K]+
[M+Li]+
[M+ACN+H]+
[M+H-H2O]+
[M+H-2H2O]+
[M+2Na-H]+
[M+IsoProp+H]+
[M+ACN+Na]+
[M+2K-H]+
[M+DMSO+H]+
[M+2ACN+H]+
[M+IsoProp+Na+H]+
[M-C6H10O4]+
[M-C6H10O5]+
[M-C6H8O6]+
[2M+H]+
[2M+NH4]+
[2M+Na]+
[2M+3H2O+2H]+
[2M+K]+
[2M+ACN+H]+
[2M+ACN+Na]+
[M+2H]2+
[M+H+NH4]2+
[M+H+Na]2+
[M+H+K]2+
[M+ACN+2H]2+
[M+2Na]2+
[M+2ACN+2H]2+
[M+3ACN+2H]2+
[M+3H]3+
[M+2H+Na]3+
[M+H+2Na]3+
[M+3Na]3+